## Civil Qty
Pipe Rack FDN -> all Reuse
Foundation Repair | [5 empty] | Area Cleaning To be Calculated
[16 empty] | 397.4301 |  |  | 484.8057 | 460.9657 |  |  |  |  | 489.7006 | 466.5421 | 288.96 | 0.48875 | 15.4687 | 4.68
No. | Area | P&ID | Area |  | Eqipment No. | Equipment Title | Actual Civil Foundation Size (m) |  |  | Area (m²) | Vol. (m³) | Civil Foundation Size (m) |  |  | Area (m²) | Foundation |  |  | Q'ty (Actual) | [5 empty] | Q'ty | [5 empty] | Remark | No. | Area | Foundation Repair
[7 empty] | Width | Length | Height |  |  | Width | Length | Height |  | Vol. (m³) | Qty | repair | Dismantlement | Con'c | Plastering T=18mm | Filler | Grouting | Painting | Dismantlement | Con'c | Plastering T=18mm | Filler | Grouting | Painting |  |  |  | Area m² | Volume m³
[19 empty] | m3 | m3 | m2 | m3 | m3 | m2 | m3 | m3 | m2 | m3 | m3 | m2
1 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-201 | Sodium Chlorate Electrolyzer #1 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 0.53 | 1.5 | 0.275 | 0.795 | 0.21863 | 1 | N | 0.0924 | 0.0924 |  |  | 0.0462 |  | 0.21863 | 0.21863 |  |  | 0.03975 |  |  | 1 | ClO2 Plant | 129.7309 | 88.3425
2 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-202 | Sodium Chlorate Electrolyzer #2 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 0.53 | 1.5 | 0.275 | 0.795 | 0.21863 | 1 | N | 0.0924 | 0.0924 |  |  | 0.0462 |  | 0.21863 | 0.21863 |  |  | 0.03975 |  |  | 2 | Chloralkali Plant | 35.1811 | 19.3877
3 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-203 | Sodium Chlorate Electrolyzer #3 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 0.53 | 1.5 | 0.275 | 0.795 | 0.21863 | 1 | N | 0.0924 | 0.0924 |  |  | 0.0462 |  | 0.21863 | 0.21863 |  |  | 0.03975 |  |  | 3 | Brine Treatment | 23.5916 | 8.6969
4 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-204 | Sodium Chlorate Electrolyzer #4 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 0.53 | 1.5 | 0.275 | 0.795 | 0.21863 | 1 | N | 0.0924 | 0.0924 |  |  | 0.0462 |  | 0.21863 | 0.21863 |  |  | 0.03975 |  |  | 4 | Salt Storage | 290.0754 | 173.8668
5 | ClO2 Plant | 1450 | 75 | CLO2 Plant | 42-210 | Chlorate Reactor | 4.07 | 4.07 | 0.3 | 16.5649 | 4.9695 | 4.07 | 4.07 | 0.3 | 16.5649 | 4.9695 | 1 | Y | 4.9695 | 4.9695 |  |  | 0.82825 |  | 4.9695 | 4.9695 |  |  | 0.82825 |  |  | 5 | Chiller Area | 5.58 | 1.4715
6 | ClO2 Plant | 1450 | 75 | CLO2 Plant | 42-211 | Electrolyte Cooler | 1.5 | 1.5 | 0.3 | 2.25 | 0.675 | 1.5 | 1.5 | 0.3 | 2.25 | 0.675 | 1 | Y | 0.675 | 0.675 |  |  | 0.1125 |  | 0.675 | 0.675 |  |  | 0.1125 |  |  | 6 | Sulphur Area | 6.39 | 2.76
7 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-220 | Chlorate Liquor Holding Tank | 4.5 | 4.5 | 0.29 | 20.25 | 5.8725 | 4.5 | 4.5 | 0.29 | 20.25 | 5.8725 | 1 | N | 5.8725 | 5.8725 |  |  | 1.0125 |  | 5.8725 | 5.8725 |  |  | 1.0125 |  |  | 7 | Caustic Area | 86.73 | 43.0752
8 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-222 | Strong Chlorate Feed Tank | 4.15 | 4.15 | 0.3 | 17.2225 | 5.1668 | 4.15 | 4.15 | 0.3 | 17.2225 | 5.1668 | 1 | Y | 5.1668 | 5.1668 |  |  | 0.86113 |  | 5.1668 | 5.1668 |  |  | 0.86113 |  |  | 8 | Air Separation Area | 2.25 | 0.9
9 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-223 | Strong Chlorate Feed Pump#1 | 0.7 | 1.82 | 0.35 | 1.274 | 0.4459 | 0.7 | 1.82 | 0.35 | 1.274 | 0.4459 | 1 | Y | 0.4459 | 0.4459 |  |  | 0.0637 |  | 0.4459 | 0.4459 |  |  | 0.0637 |  |  |  |  | 579.529 | 338.5006
10 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-224 | Strong Chlorate Feed Pump#2 | 0.7 | 1.79 | 0.36 | 1.253 | 0.45108 | 0.7 | 1.79 | 0.36 | 1.253 | 0.45108 | 1 | Y | 0.45108 | 0.45108 |  |  | 0.06265 |  | 0.45108 | 0.45108 |  |  | 0.06265
11 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-230 | Dioxide Generator#1 | 0.6 | 3.2 | 4.2 | 1.92 | 8.064 | 0.6 | 3.2 | 1.5 | 1.92 | 2.88 | 2 | Y | 16.128 | 16.128 |  |  | 0.096 |  | 5.76 | 5.76 |  |  | 0.096
12 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-240 | Dioxide Generator#2 | 0.6 | 3.2 | 4.2 | 1.92 | 8.064 | 0.6 | 3.2 | 1.5 | 1.92 | 2.88 | 2 | Y | 16.128 | [5 empty] | 5.76 | [5 empty] | Item Deleted
13 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-231 | Chlorine Dioxide Absorber#1 | 2.62 | 2.62 | 0.25 | 6.8644 | 1.7161 | 2.62 | 2.62 | 0.25 | 6.8644 | 1.7161 | 1 | N | 1.7161 | 1.7161 |  |  | 0.34322 |  | 1.7161 | 1.7161 |  |  | 0.34322
14 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-241 | Chlorine Dioxide Absorber#2 | 2.25 | 2.25 | 0.24 | 5.0625 | 1.215 | 2.5 | 2.5 | 0.44 | 6.25 | 2.75 | 1 | N | 1.215 | [5 empty] | 2.75 | [5 empty] | Item Deleted
15 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-232 | Chlorine Dioxide Transfer Pump#1 | 0.7 | 1.8 | 0.36 | 1.26 | 0.4536 | 0.7 | 1.8 | 0.36 | 1.26 | 0.4536 | 1 | Y | 0.4536 | 0.4536 |  |  | 0.063 |  | 0.4536 | 0.4536 |  |  | 0.063
16 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-232 | Chlorine Dioxide Transfer Pump#2 | 0.7 | 1.8 | 0.36 | 1.26 | 0.4536 | 0.7 | 1.8 | 0.36 | 1.26 | 0.4536 | 1 | Y | 0.4536 | 0.4536 |  |  | 0.063 |  | 0.4536 | 0.4536 |  |  | 0.063
17 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-235 | Weak Chlorine Evaporator | 0.6 | 3.21 | 1.42 | 1.926 | 2.7349 | 0.6 | 3.21 | 1.42 | 1.926 | 2.7349 | 2 | Y | 5.4698 | 5.4698 |  |  | 0.0963 |  | 5.4698 | 5.4698 |  |  | 0.0963
18 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-236 | Weak Chlorine Pump | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 1 | Y | 0.45264 | 0.45264 |  |  | 0.05658 |  | 0.45264 | 0.45264 |  |  | 0.05658
19 | ClO2 Plant | 1455 | 75 | CLO2 Plant | 42-238 | Dilution Air Compressor | 2.2 | 0.4 | 0.3 | 0.88 | 0.264 | 2.18 | 3.96 | 0.44 | 8.6328 | 3.7984 | 1 | Y | 0.264 | [5 empty] | 3.7984 | [5 empty] | Item Deleted
20 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-250 | Hydrogen Scrubber | 1.4 | 1.4 | 0.5 | 1.96 | 0.98 | 1.2 | 1.2 | 0.44 | 1.44 | 0.6336 | 1 | Y | 0.98 | 0.98 |  |  | 0.098 |  | 0.6336 | 0.6336 |  |  | 0.072
21 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-251 | Hydrogen Scrubber Pump#1 | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 1 | Y | 0.45264 | 0.45264 |  |  | 0.05658 |  | 0.45264 | 0.45264 |  |  | 0.05658 | 2.34 | Pump Base Plate (25mmT), 117kg/Base Plate, Painting Included
22 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-252 | Hydrogen Scrubber Pump#2 | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 1 | Y | 0.45264 | 0.45264 |  |  | 0.05658 |  | 0.45264 | 0.45264 |  |  | 0.05658 | 2.34 | Pump Base Plate (25mmT), 117kg/Base Plate, Painting Included
23 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-254 | Hydrogen Scrubber Cooler | 0.48 | 0.73 | 0.26 | 0.3504 | 0.091104 | 0.48 | 0.73 | 0.26 | 0.3504 | 0.091104 | 1 | Y | 0.091104 | 0.091104 |  |  | 0.01752 |  | 0.091104 | 0.091104 |  |  | 0.01752
24 | ClO2 Plant | 1458 | 75 | CLO2 Plant | 42-267 | HCl Pump Tank | 1.8 | 1.8 | 0.35 | 3.24 | 1.134 | 1.75 | 1.75 | 0.44 | 3.0625 | 1.3475 | 1 | Y | [12 empty] | Item Deleted, Not apply Only Crack Filling by Filler & Non Shrinkage Grouting
25 | ClO2 Plant | 1458 | 75 | CLO2 Plant | 42-268 | HCl Transfer Pump | 0.56 | 1.17 | 0.36 | 0.6552 | 0.23587 | 0.56 | 1.17 | 0.36 | 0.6552 | 0.23587 | 1 | N | 0.23587 | 0.23587 |  |  | 0.03276 |  | 0.23587 | 0.23587 |  |  | 0.03276
26 | ClO2 Plant | 1434 | 75 | CLO2 Plant | 42-285 | Seal Water Tank | 4.05 | 4.05 | 0.23 | 16.4025 | 3.7726 | 4.1 | 4.1 | 0.44 | 16.81 | 7.3964 | 1 | N | 3.7726 | 3.7726 |  |  | 0.82012 |  | 7.3964 | 7.3964 |  |  | 0.8405
27 | ClO2 Plant | 1434 | 75 | CLO2 Plant | 42-286 | Seal Water Pump#1 | 0.72 | 1.8 | 3.9 | 1.296 | 5.0544 | 0.72 | 1.8 | 0.39 | 1.296 | 0.50544 | 1 | N | 5.0544 | 5.0544 |  |  | 0.0648 |  | 0.50544 | 0.50544 |  |  | 0.0648
28 | ClO2 Plant | 1434 | 75 | CLO2 Plant | 42-287 | Seal Water Pump#2 | 0.72 | 1.8 | 0.39 | 1.296 | 0.50544 | 0.72 | 1.8 | 0.39 | 1.296 | 0.50544 | 1 | N | 0.50544 | 0.50544 |  |  | 0.0648 |  | 0.50544 | 0.50544 |  |  | 0.0648
29 | ClO2 Plant |  | 75 | CLO2 Plant |  | El. 6500 Concrete Floor | 6 | 11 | 0.5 | 66 | 33 | 6 | 11 | 0.5 | 66 | 33 | 1 | Y | 33 | 33 |  |  | 3.3 |  | 33 | 33 |  |  | 3.3
30 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-801 | Brine Heat Exchanger | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 1 | Y | 0.132 | 0.132 |  |  | 0.0165 |  | 0.132 | 0.132 |  |  | 0.0165
31 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-803 | Deionized Brine Storage Tank | 2.85 | 2.85 | 0.36 | 8.1225 | 2.9241 | 2.9 | 2.9 | 0.44 | 8.41 | 3.7004 | 1 | N | 2.9241 | 2.9241 |  |  | 0.40613 |  | 3.7004 | 3.7004 |  |  | 0.4205
32 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-804 | Deionized Brine Storage Pump#1 | 0.78 | 1.64 | 0.33 | 1.2792 | 0.42214 | 0.686 | 1.626 | 0.44 | 1.1154 | 0.49079 | 1 | Y | 0.42214 | 0.42214 |  |  | 0.06396 |  | 0.49079 | 0.49079 |  |  | 0.055772
33 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-805 | Deionized Brine Storage Pump#2 | 0.78 | 1.64 | 0.33 | 1.2792 | 0.42214 | 0.686 | 1.626 | 0.44 | 1.1154 | 0.49079 | 1 | Y | 0.42214 | 0.42214 |  |  | 0.06396 |  | 0.49079 | 0.49079 |  |  | 0.055772
34 | Chloralkali Plant | 1415 | 72_84_87 | Chlorakali Plant | 42-840 | Weak Brine Tank | 0.5 | 2.9 | 0.2 | 1.45 | 0.29 | 0.5 | 2.6 | 0.3 | 1.3 | 0.39 | 2 | Y | 0.58 | 0.58 |  |  | 0.0725 |  | 0.78 | 0.78 |  |  | 0.065
35 | Chloralkali Plant | 1415 | 72_84_87 | Chlorakali Plant | 42-841 | Weak Brine Pump#1 | 0.7 | 1.7 | 0.62 | 1.19 | 0.7378 | 0.686 | 1.626 | 0.6 | 1.1154 | 0.66926 | 1 | Y | 0.7378 | 0.7378 |  |  | 0.0595 |  | 0.66926 | 0.66926 |  |  | 0.055772
36 | Chloralkali Plant | 1415 | 72_84_87 | Chlorakali Plant | 42-842 | Weak Brine Pump#2 | 0.69 | 1.63 | 0.6 | 1.1247 | 0.67482 | 0.686 | 1.626 | 0.6 | 1.1154 | 0.66926 | 1 | Y | 0.67482 | 0.67482 |  |  | 0.056235 |  | 0.66926 | 0.66926 |  |  | 0.055772
37 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-854 | Catholyte Heat Exchanger | 2 | 2.05 | 0.41 | 4.1 | 1.681 | 2 | 2.05 | 0.41 | 4.1 | 1.681 | 1 | Y | 1.681 | 1.681 |  |  | 0.205 |  | 1.681 | 1.681 |  |  | 0.205
38 | Chloralkali Plant | 1421 | 72_84_87 | Chlorakali Plant | 42-847 | Chlorine Candle Filter | 2.5 | 2.5 | 0.25 | 6.25 | 1.5625 | 2.02 | 2.02 | 0.3 | 4.0804 | 1.2241 | 1 | Y | 1.5625 | 1.5625 |  |  | 0.3125 |  | 1.2241 | 1.2241 |  |  | 0.20402
39 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-850 | Catholyte Tank | 0.5 | 2.95 | 0.15 | 1.475 | 0.22125 | 2.6 | 2.6 | 0.44 | 6.76 | 2.9744 | 1 | Y | 0.22125 | 0.22125 |  |  | 0.07375 |  | 2.9744 | 2.9744 |  |  | 0.338
40 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-851 | Catholyte Pump#1 | 0.69 | 1.68 | 0.57 | 1.1592 | 0.66074 | 0.626 | 1.626 | 0.44 | 1.0179 | 0.44787 | 1 | Y | 0.66074 | 0.66074 |  |  | 0.05796 |  | 0.44787 | 0.44787 |  |  | 0.050894
41 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-852 | Catholyte Pump#2 | 0.69 | 1.68 | 0.57 | 1.1592 | 0.66074 | 0.626 | 1.626 | 0.44 | 1.0179 | 0.44787 | 1 | Y | 0.66074 | 0.66074 |  |  | 0.05796 |  | 0.44787 | 0.44787 |  |  | 0.050894
42 | Chloralkali Plant | 1419 | 72_84_87 | Chlorakali Plant | 42-864 | Sulphur Dioxide Solution | 2.1 | 2.1 | 0.25 | 4.41 | 1.1025 | 2.01 | 2.01 | 0.4 | 4.0401 | 1.616 | 1 | Y | 1.1025 | 1.1025 |  |  | 0.2205 |  | 1.616 | 1.616 |  |  | 0.202
43 | Chloralkali Plant | 1419 | 72_84_87 | Chlorakali Plant | 42-869 | Dechlorination Gas Cooler | 0.35 | 0.39 | 0.5 | 0.1365 | 0.06825 | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 1 | Y | 0.06825 | 0.06825 |  |  | 0.006825 |  | 0.132 | 0.132 |  |  | 0.0165
44 | Chloralkali Plant | 1427 | 72_84_87 | Chlorakali Plant | 42-871 | Cell Caustic Cooler | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 1 | Y | 0.132 | 0.132 |  |  | 0.0165 |  | 0.132 | 0.132 |  |  | 0.0165
45 | Chloralkali Plant | 1427 | 72_84_87 | Chlorakali Plant | 42-873 | Intermediate Caustic Head Tank | 0.85 | 0.85 | 0.25 | 0.7225 | 0.18062 | 1.8 | 1.8 | 0.4 | 3.24 | 1.296 | 1 | Y | 0.18062 | 0.18062 |  |  | 0.036125 |  | 1.296 | 1.296 |  |  | 0.162
46 | Chloralkali Plant | 1426 | 72_84_87 | Chlorakali Plant | 42-881 | Hypo Tower Pump#1 | 0.81 | 2.6 | 0.49 | 2.106 | 1.0319 | 0.81 | 2.576 | 0.6 | 2.0866 | 1.2519 | 1 | Y | 1.0319 | 1.0319 |  |  | 0.1053 |  | 1.2519 | 1.2519 |  |  | 0.10433
47 | Chloralkali Plant | 1426 | 72_84_87 | Chlorakali Plant | 42-882 | Hypo Tower Pump#2 | 0.81 | 2.6 | 0.49 | 2.106 | 1.0319 | 0.81 | 2.576 | 0.6 | 2.0866 | 1.2519 | 1 | Y | 1.0319 | 1.0319 |  |  | 0.1053 |  | 1.2519 | 1.2519 |  |  | 0.10433
48 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-720 | Brine Treatment tank | 2.6 | 2.6 | 0.32 | 6.76 | 2.1632 | 3 | 3 | 0.4 | 9 | 3.6 | 1 | Y | 2.1632 | 2.1632 |  |  | 0.338 |  | 3.6 | 3.6 |  |  | 0.45
49 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-735 | Clarified Brine Tank | 1.75 | 1.75 | 0.44 | 3.0625 | 1.3475 | 1.75 | 1.75 | 0.44 | 3.0625 | 1.3475 | 1 | Y |  |  |  |  | 1.3475 |  |  |  |  | 0.33687 |  |  | Only Crack Filling by Filler & Nnon Shrinkage Grouting
50 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-736 | Clarified Brine Pump | 2.6 | 2.6 | 0.32 | 6.76 | 2.1632 | 0.686 | 1.626 | 0.6 | 1.1154 | 0.66926 | 1 | Y | 2.1632 | 2.1632 |  |  | 0.338 |  | 0.66926 | 0.66926 |  |  | 0.055772
51 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-732 | Coagulant Metering Pump | 0.35 | 0.63 | 0.7 | 0.2205 | 0.15435 | 0.5 | 1.4 | 0.6 | 0.7 | 0.42 | 1 | Y | 0.15435 | 0.15435 |  |  | 0.011025 |  | 0.42 | 0.42 |  |  | 0.035
52 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-725 | Brine Sludge Pump#1 | 0.4 | 0.38 | 0.32 | 0.152 | 0.04864 | 0.626 | 1.626 | 0.44 | 1.0179 | 0.44787 | 1 | Y | 0.04864 | 0.04864 |  |  | 0.0076 |  | 0.44787 | 0.44787 |  |  | 0.050894
53 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-726 | Brine Sludge Pump#2 | 0.63 | 1.63 | 0.44 | 1.0269 | 0.45184 | 0.626 | 1.626 | 0.44 | 1.0179 | 0.44787 | 1 | Y | 0.45184 | 0.45184 |  |  | 0.051345 |  | 0.44787 | 0.44787 |  |  | 0.050894
54 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-740 | Brine Filter#1 | 1.2 | 2.5 | 0.4 | 3 | 1.2 | 1.2 | 2.5 | 0.4 | 3 | 1.2 | 1 | Y | 1.2 | 1.2 |  |  | 0.15 |  | 1.2 | 1.2 |  |  | 0.15
55 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-741 | Brine Filter#2 | 1.4 | 3.6 | 0.3 | 5.04 | 1.512 | 1.2 | 2.5 | 0.4 | 3 | 1.2 | 1 | Y | 1.512 | 1.512 |  |  | 0.252 |  | 1.2 | 1.2 |  |  | 0.15
56 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-752 | Filter Aid Pump | 0.4 | 0.5 | 0.45 | 0.2 | 0.09 | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 1 | Y | 0.09 | [5 empty] | 0.132 | [5 empty] | Item Deleted
57 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-757 | Filter Precoat Pump | 0.72 | 1.65 | 0.34 | 1.188 | 0.40392 | 0.626 | 1.626 | 0.44 | 1.0179 | 0.44787 | 1 | Y | 0.40392 | [5 empty] | 0.44787 | [5 empty] | Item Deleted
58 | Brine Treatment | 1429 | 71_91 | Salt Storage & Brine Treatment | 42-764 | Sodium Carbonate Head Tank | 2.6 | 2.75 | 0.4 | 7.15 | 2.86 | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 1 | Y | 2.86 | 2.86 |  |  | 0.3575 |  | 0.132 | 0.132 |  |  | 0.0165
59 | Salt Storage | 1401 | 71_91 | Salt Storage & Brine Treatment | 42-714 | Lixator Pump | 0.7 | 1.65 | 0.6 | 1.155 | 0.693 | 0.686 | 1.626 | 0.44 | 1.1154 | 0.49079 | 1 | Y | 0.693 | 0.693 |  |  | 0.05775 |  | 0.49079 | 0.49079 |  |  | 0.055772
60 | Salt Storage |  | 71_91 | Salt Storage & Brine Treatment |  | Storage Wall - Front | 3.01 | 84 | 0.3 | 252.84 | 75.852 | 3.01 | 84 | 0.3 | 252.84 | 75.852 | 2 | Y | 151.704 | 151.704 | 252.84 |  |  |  | 151.704 | 151.704 | 252.84 |  |  |  | 50% Considered
61 | Salt Storage |  | 71_91 | Salt Storage & Brine Treatment |  | Storage Wall - Side | 3.01 | 12 | 0.3 | 36.12 | 10.836 | 3.01 | 12 | 0.3 | 36.12 | 10.836 | 2 | Y | 21.672 | 21.672 | 36.12 |  |  |  | 21.672 | 21.672 | 36.12 |  |  |  | 50% Considered
62 | Chiller Area | 1461 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-326 | Chilled Water Circulation Pump | 0.8 | 2.3 | 0.48 | 1.84 | 0.8832 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y |  |  |  |  | 0.8832 |  |  |  |  | 0.15188 |  |  | Only Crack Filling by Filler & Nnon Shrinkage Grouting
63 | Chiller Area | 1437 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-331 | Condensate Pump | 0.7 | 1.95 | 0.33 | 1.365 | 0.45045 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.45045 | 0.45045 |  |  | 0.06825 |  | 0.6075 | 0.6075 |  |  | 0.0675
64 | Chiller Area | 1460 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-316 | Chlorine Dioxide Supply Pump#1 | 1.87 | 1.87 | 0.34 | 3.4969 | 1.1889 | 1.2 | 1.2 | 0.3 | 1.44 | 0.432 | 1 | Y | 1.1889 | 1.1889 |  |  | 0.17485 |  | 0.432 | 0.432 |  |  | 0.072
65 | Chiller Area | 1460 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-317 | Chlorine Dioxide Supply Pump#2 | 1.87 | 1.87 | 0.34 | 3.4969 | 1.1889 | 1.2 | 1.2 | 0.3 | 1.44 | 0.432 | 1 | Y | 1.1889 | 1.1889 |  |  | 0.17485 |  | 0.432 | 0.432 |  |  | 0.072
66 | Sulphur Area | 1491 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-353 | Sulphur Pump#1 | 0.5 | 0.8 | 0.3 | 0.4 | 0.12 | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 1 | Y | 0.12 | 0.12 |  |  | 0.02 |  | 0.132 | 0.132 |  |  | 0.0165
67 | Sulphur Area | 1491 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-354 | Sulphur Pump#2 | 0.5 | 0.8 | 0.3 | 0.4 | 0.12 | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 1 | Y | 0.12 | 0.12 |  |  | 0.02 |  | 0.132 | 0.132 |  |  | 0.0165
68 | Sulphur Area | 1492 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-368 | SO2 Cooler Tower Recirculation Pump | 0.71 | 1.77 | 0.35 | 1.2567 | 0.43984 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.43984 | 0.43984 |  |  | 0.062835 |  | 0.6075 | 0.6075 |  |  | 0.0675
69 | Sulphur Area | 1492 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-373 | SO2 Solution Transfer Pump | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.6075 | 0.6075 |  |  | 0.0675 |  | 0.6075 | 0.6075 |  |  | 0.0675
70 | Sulphur Area | 1492 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-372 | SO2 Air Fan | 0.76 | 0.8 | 0.12 | 0.608 | 0.07296 | 0.5 | 0.66 | 0.2 | 0.33 | 0.066 | 1 | Y | 0.07296 | 0.07296 |  |  | 0.0304 |  | 0.066 | 0.066 |  |  | 0.0165
71 | Sulphur Area | 1481 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-376 | SO2 Solution Supply Pump#1 | 0.71 | 1.9 | 0.57 | 1.349 | 0.76893 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.76893 | 0.76893 |  |  | 0.06745 |  | 0.6075 | 0.6075 |  |  | 0.0675
72 | Sulphur Area | 1481 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-377 | SO2 Solution Supply Pump#2 | 0.71 | 1.9 | 0.57 | 1.349 | 0.76893 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.76893 | 0.76893 |  |  | 0.06745 |  | 0.6075 | 0.6075 |  |  | 0.0675
73 | Caustic Area | 1427 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-502 | Caustic Storage Tank Pump#1 | 0.7 | 1.9 | 0.57 | 1.33 | 0.7581 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.7581 | 0.7581 |  |  | 0.0665 |  | 0.6075 | 0.6075 |  |  | 0.0675
74 | Caustic Area | 1427 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-503 | Caustic Storage Tank Pump#2 | 0.7 | 1.9 | 0.57 | 1.33 | 0.7581 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.7581 | 0.7581 |  |  | 0.0665 |  | 0.6075 | 0.6075 |  |  | 0.0675
75 | Caustic Area | 1427 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-510 | Caustic Dissolving Tank | 4 | 4 | 0.18 | 16 | 2.88 | 4.5 | 4.5 | 0.5 | 20.25 | 10.125 | 1 | Y | 2.88 | 2.88 |  |  | 0.8 |  | 10.125 | 10.125 |  |  | 1.0125
76 | Caustic Area | 1428 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-521 | Strong Sulphuric Acid Storage Pump | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.6075 | 0.6075 |  |  | 0.0675 |  | 0.6075 | 0.6075 |  |  | 0.0675
77 | Caustic Area | 1428 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-530 | Diliute Sulphuric Acid Storage Tank | 4.3 | 4.3 | 0.3 | 18.49 | 5.547 | 4.5 | 4.5 | 0.5 | 20.25 | 10.125 | 1 | Y | 5.547 | [5 empty] | 10.125 | [5 empty] | Item Deleted
78 | Caustic Area | 1428 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-535 | Dilute Sulphuric Acid Cooler | 0.6 | 0.8 | 0.4 | 0.48 | 0.192 | 0.5 | 0.66 | 0.44 | 0.33 | 0.1452 | 1 | Y | 0.192 | [5 empty] | 0.1452 | [5 empty] | Item Deleted
79 | Caustic Area | 1458 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-540 | HCl Storage Tank#1 | 4.2 | 4.2 | 0.35 | 17.64 | 6.174 | 4.5 | 4.5 | 0.5 | 20.25 | 10.125 | 1 | Y | 6.174 | 6.174 |  |  | 0.882 |  | 10.125 | 10.125 |  |  | 1.0125
80 | Caustic Area | 1458 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-541 | HCl Storage Tank#2 | 4.2 | 4.2 | 0.35 | 17.64 | 6.174 | 4.5 | 4.5 | 0.5 | 20.25 | 10.125 | 1 | Y | 6.174 | 6.174 |  |  | 0.882 |  | 10.125 | 10.125 |  |  | 1.0125
81 | Caustic Area | 1458 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-542 | HCl Supply Pump | 0.56 | 1.18 | 0.6 | 0.6608 | 0.39648 | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 1 | Y | 0.39648 | 0.39648 |  |  | 0.03304 |  | 0.6075 | 0.6075 |  |  | 0.0675
82 | Air Separation Area |  | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-426 | Electric Heater | 1.2 | 1.2 | 0.19 | 1.44 | 0.2736 | 1.5 | 1.5 | 0.4 | 2.25 | 0.9 | 1 | Y | 0.2736 | 0.2736 |  |  | 0.072 |  | 0.9 | 0.9 |  |  | 0.1125
83 | Salt Storage |  | 71_91 | Salt Storage & Brine Treatment |  | Storage Floor | 12 | 84 | 0.15 | 1008 | 151.2 | 12 | 84 | 0.15 | 1008 | 151.2 | 1 | Y | 151.2 | 151.2 | 1008 |  | 50.4 | 1008 | 151.2 | 151.2 | 1008 |  |  |  | Epoxy Painting
[5 empty] | Item | [13 empty] | Actual
[5 empty] | Dismantlement | [13 empty] | Dismantlement | Con'c | Plastering T=18mm | Filler | Grouting | Painting | Dismantlement | Con'c | Plastering T=18mm | Filler | Grouting | Painting
[19 empty] | m3 | m3 | m2 | m3 | m3 | m2 | m3 | m3 | m2 | m3 | m3 | m2
|  |  | 75 | CLO2 Plant | 29 | [11 empty] | CLO2 Plant |  | 104.7758 | 87.1688 | 0 | 0 | 8.3548 | 0 | 88.3425 | 76.0341 | 0 | 0 | 8.3234 | 4.68
|  |  | 72_84_87 | Chlorakali Plant | 18 | [11 empty] | Chlorakali Plant |  | 14.2265 | 14.2265 | 0 | 0 | 1.9365 | 0 | 19.3877 | 19.3877 | 0 | 0 | 2.1796 | 0
|  |  | 71_91 | Salt Storage & Brine Treatment | 14 | [11 empty] | Salt Storage & Brine Treatment |  | 336.3161 | 335.8222 | 1296.96 | 0 | 53.3107 | 0 | 182.5636 | 181.9838 | 288.96 | 0.33687 | 1.0148 | 0
|  |  | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 11 | [11 empty] | SO2 Plant, CLO2 Storage & Chiller Plant |  | 5.7265 | 5.7265 | 0 | 0 | 1.6368 | 0 | 4.2315 | 4.2315 | 0 | 0.15188 | 0.531 | 0
|  |  | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 10 | [11 empty] | Na2SO4_NaOH_HCL_H2SO4 |  | 23.7608 | 18.0218 | 0 | 0 | 2.8695 | 0 | 43.9752 | 33.705 | 0 | 0 | 3.42 | 0
[18 empty] | SUM | 484.8057 | 460.9657 | 1296.96 | 0 | 68.1083 | 0 | 338.5006 | 315.3421 | 288.96 | 0.48875 | 15.4687 | 4.68
[17 empty] | Salt Storage Shelter - Wall |  | 324.576 | 324.576 | 1296.96 | 0 | 0 | 0 | 324.576 | 324.576 | 1296.96 | 0 | 0 | 0
[17 empty] | Balance |  | 160.2297 | 136.3897 | 0 | 0 | 68.1083 | 0 | 13.9246 | -9.2339 | -1008 | 0.48875 | 15.4687 | 4.68
[19 empty] | Dismantlement | Con'c | Plastering T=18mm | Filler | Grouting | Painting | Dismantlement | Con'c | Plastering T=18mm | Filler | Grouting | Painting |  |  | Concrete K250
[19 empty] | Set | Set | Set | Set | Set | Set | Set | Set | Set | Set | Set | Set |  |  | 2550000 | Rp/m3
|  |  | 75 | CLO2 Plant | [12 empty] | CLO2 Plant |  | 28 | 25 | 0 | 0 | 25 | 0 | 28 | 25 | 0 | 0 | 25 | 2
|  |  | 72_84_87 | Chlorakali Plant | [12 empty] | Chlorakali Plant |  | 18 | 18 | 0 | 0 | 18 | 0 | 18 | 18 | 0 | 0 | 18 | 0 |  |  | 1236254455.95 | Rp.
|  |  | 71_91 | Salt Storage & Brine Treatment | [12 empty] | Salt Storage & Brine Treatment |  | 13 | 12 | 3 | 0 | 11 | 0 | 13 | 11 | 2 | 1 | 9 | 0
|  |  | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | [12 empty] | SO2 Plant, CLO2 Storage & Chiller Plant |  | 11 | 10 | 0 | 0 | 11 | 0 | 10 | 10 | 0 | 1 | 10 | 0
|  |  | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | [12 empty] | Na2SO4_NaOH_HCL_H2SO4 |  | 10 | 8 | 0 | 0 | 8 | 0 | 10 | 8 | 0 | 0 | 8 | 0
[18 empty] | SUM | 80 | 73 | 3 | 0 | 73 | 0 | 79 | 72 | 2 | 2 | 70 | 2
[17 empty] | Salt Storage Shelter - Wall |  | Set: 3; Set: 3; Set: 3; Set: 3; Set: 3; Set: 3
[17 empty] | Balance |  | 77 | 70 | 0 | 0 | 73 | 0 | 76 | 69 | -1 | 2 | 70 | 2

## Rebar
Note : weight in Kg
Rebar Qty
No. | Area | P&ID | Area |  | Eqipment No. | Equipment Title | Actual Civil Foundation Size (m) |  |  | Area (m²) | Vol. (m³) | Total | D22 |  |  | D19 |  |  | D16 |  |  | D13 |  |  | D10
[7 empty] | Width | Length | Height |  |  | Weight | L (m) | Unit wt | Total wt | L (m) | Unit wt | Total wt | L (m) | Unit wt | Total wt | L (m) | Unit wt | Total wt | L (m) | Unit wt | Total wt
1 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-201 | Sodium Chlorate Electrolyzer #1 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 113.9632 | [6 empty] | 72.588 | 1.57 | 113.9632
2 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-202 | Sodium Chlorate Electrolyzer #2 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 113.9632 | [6 empty] | 72.588 | 1.57 | 113.9632
3 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-203 | Sodium Chlorate Electrolyzer #3 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 113.9632 | [6 empty] | 72.588 | 1.57 | 113.9632
4 | ClO2 Plant | 1450/1451 | 75 | CLO2 Plant | 42-204 | Sodium Chlorate Electrolyzer #4 | 0.56 | 1.65 | 0.1 | 0.924 | 0.0924 | 113.9632 | [6 empty] | 72.588 | 1.57 | 113.9632
5 | ClO2 Plant | 1450 | 75 | CLO2 Plant | 42-210 | Chlorate Reactor | 4.07 | 4.07 | 0.3 | 16.5649 | 4.9695 | 372.6699 |  |  |  | 15.08 | 2.23 | 33.6284 | 215.95 | 1.57 | 339.0415
6 | ClO2 Plant | 1450 | 75 | CLO2 Plant | 42-211 | Electrolyte Cooler | 1.5 | 1.5 | 0.3 | 2.25 | 0.675 | 93.1557 |  |  |  | 3.77 | 2.23 | 8.4071 | 53.98 | 1.57 | 84.7486
7 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-220 | Chlorate Liquor Holding Tank | 4.5 | 4.5 | 0.29 | 20.25 | 5.8725 | 381.9866 |  |  |  | 15.457 | 2.23 | 34.4691 | 221.3487 | 1.57 | 347.5175
8 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-222 | Strong Chlorate Feed Tank | 4.15 | 4.15 | 0.3 | 17.2225 | 5.1668 | 378.2599 |  |  |  | 15.3062 | 2.23 | 34.1328 | 219.1892 | 1.57 | 344.1271
9 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-223 | Strong Chlorate Feed Pump#1 | 0.7 | 1.82 | 0.35 | 1.274 | 0.4459 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
10 | ClO2 Plant | 1452 | 75 | CLO2 Plant | 42-224 | Strong Chlorate Feed Pump#2 | 0.7 | 1.79 | 0.36 | 1.253 | 0.45108 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
11 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-230 | Dioxide Generator#1 | 0.6 | 3.2 | 4.2 | 1.92 | 8.064 | 2226.5882 | 413.88 | 2.98 | 1233.3624 | 192.32 | 2.23 | 428.8736 | 359.46 | 1.57 | 564.3522
12 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-240 | Dioxide Generator#2 | 0.6 | 3.2 | 4.2 | 1.92 | 8.064 | 2226.5882 | 413.88 | 2.98 | 1233.3624 | 192.32 | 2.23 | 428.8736 | 359.46 | 1.57 | 564.3522
13 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-231 | Chlorine Dioxide Absorber#1 | 2.62 | 2.62 | 0.25 | 6.8644 | 1.7161 | 278.2579 |  |  |  | 70.47 | 2.23 | 157.1481 | 77.14 | 1.57 | 121.1098
14 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-241 | Chlorine Dioxide Absorber#2 | 2.25 | 2.25 | 0.24 | 5.0625 | 1.215 | 278.2579 |  |  |  | 70.47 | 2.23 | 157.1481 | 77.14 | 1.57 | 121.1098
15 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-232 | Chlorine Dioxide Transfer Pump#1 | 0.7 | 1.8 | 0.36 | 1.26 | 0.4536 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
16 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-232 | Chlorine Dioxide Transfer Pump#2 | 0.7 | 1.8 | 0.36 | 1.26 | 0.4536 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
17 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-235 | Weak Chlorine Evaporator | 0.6 | 3.21 | 1.42 | 1.926 | 2.7349 | 286.8966 |  |  |  | 58.32 | 2.23 | 130.0536 | 99.9 | 1.57 | 156.843
18 | ClO2 Plant | 1454 | 75 | CLO2 Plant | 42-236 | Weak Chlorine Pump | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 66.1441 | [6 empty] | 42.13 | 1.57 | 66.1441
19 | ClO2 Plant | 1455 | 75 | CLO2 Plant | 42-238 | Dilution Air Compressor | 2.2 | 0.4 | 0.3 | 0.88 | 0.264 | 59.7584 | [9 empty] | 57.46 | 1.04 | 59.7584
20 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-250 | Hydrogen Scrubber | 1.4 | 1.4 | 0.5 | 1.96 | 0.98 | 93.1557 |  |  |  | 3.77 | 2.23 | 8.4071 | 53.98 | 1.57 | 84.7486
21 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-251 | Hydrogen Scrubber Pump#1 | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
22 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-252 | Hydrogen Scrubber Pump#2 | 0.69 | 1.64 | 0.4 | 1.1316 | 0.45264 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
23 | ClO2 Plant | 1459 | 75 | CLO2 Plant | 42-254 | Hydrogen Scrubber Cooler | 0.48 | 0.73 | 0.26 | 0.3504 | 0.091104 | 19.4394 | [6 empty] | 7.56 | 1.57 | 11.8692 |  |  |  | 12.21 | 0.62 | 7.5702
24 | ClO2 Plant | 1458 | 75 | CLO2 Plant | 42-267 | HCl Pump Tank | 1.8 | 1.8 | 0.35 | 3.24 | 1.134 | 109.3887 |  |  |  | 12.38 | 2.23 | 27.6074 | 52.09 | 1.57 | 81.7813
25 | ClO2 Plant | 1458 | 75 | CLO2 Plant | 42-268 | HCl Transfer Pump | 0.56 | 1.17 | 0.36 | 0.6552 | 0.23587 | 66.1441 | [6 empty] | 42.13 | 1.57 | 66.1441
26 | ClO2 Plant | 1434 | 75 | CLO2 Plant | 42-285 | Seal Water Tank | 4.05 | 4.05 | 0.23 | 16.4025 | 3.7726 | 372.6699 |  |  |  | 15.08 | 2.23 | 33.6284 | 215.95 | 1.57 | 339.0415
27 | ClO2 Plant | 1434 | 75 | CLO2 Plant | 42-286 | Seal Water Pump#1 | 0.72 | 1.8 | 3.9 | 1.296 | 5.0544 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
28 | ClO2 Plant | 1434 | 75 | CLO2 Plant | 42-287 | Seal Water Pump#2 | 0.72 | 1.8 | 0.39 | 1.296 | 0.50544 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
29 | ClO2 Plant |  | 75 | CLO2 Plant |  | El. 6500 Concrete Floor | 6 | 11 | 0.5 | 66 | 33 | 409.2 | [12 empty] | 660 | 0.62 | 409.2
30 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-801 | Brine Heat Exchanger | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 19.4394 | [6 empty] | 7.56 | 1.57 | 11.8692 |  |  |  | 12.21 | 0.62 | 7.5702
31 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-803 | Deionized Brine Storage Tank | 2.85 | 2.85 | 0.36 | 8.1225 | 2.9241 | 242.2354 |  |  |  | 9.802 | 2.23 | 21.8585 | 140.3675 | 1.57 | 220.377
32 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-804 | Deionized Brine Storage Pump#1 | 0.78 | 1.64 | 0.33 | 1.2792 | 0.42214 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
33 | Chloralkali Plant | 1405 | 72_84_87 | Chlorakali Plant | 42-805 | Deionized Brine Storage Pump#2 | 0.78 | 1.64 | 0.33 | 1.2792 | 0.42214 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
34 | Chloralkali Plant | 1415 | 72_84_87 | Chlorakali Plant | 42-840 | Weak Brine Tank | 0.5 | 2.9 | 0.2 | 1.45 | 0.29 | 227.9263 | [6 empty] | 145.176 | 1.57 | 227.9263
35 | Chloralkali Plant | 1415 | 72_84_87 | Chlorakali Plant | 42-841 | Weak Brine Pump#1 | 0.7 | 1.7 | 0.62 | 1.19 | 0.7378 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
36 | Chloralkali Plant | 1415 | 72_84_87 | Chlorakali Plant | 42-842 | Weak Brine Pump#2 | 0.69 | 1.63 | 0.6 | 1.1247 | 0.67482 | 66.1441 | [6 empty] | 42.13 | 1.57 | 66.1441
37 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-854 | Catholyte Heat Exchanger | 2 | 2.05 | 0.41 | 4.1 | 1.681 | 186.335 |  |  |  | 7.54 | 2.23 | 16.8142 | 107.975 | 1.57 | 169.5208
38 | Chloralkali Plant | 1421 | 72_84_87 | Chlorakali Plant | 42-847 | Chlorine Candle Filter | 2.5 | 2.5 | 0.25 | 6.25 | 1.5625 | 167.7015 |  |  |  | 6.786 | 2.23 | 15.1328 | 97.1775 | 1.57 | 152.5687
39 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-850 | Catholyte Tank | 0.5 | 2.95 | 0.15 | 1.475 | 0.22125 | 227.9263 | [6 empty] | 145.176 | 1.57 | 227.9263
40 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-851 | Catholyte Pump#1 | 0.69 | 1.68 | 0.57 | 1.1592 | 0.66074 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
41 | Chloralkali Plant | 1417 | 72_84_87 | Chlorakali Plant | 42-852 | Catholyte Pump#2 | 0.69 | 1.68 | 0.57 | 1.1592 | 0.66074 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
42 | Chloralkali Plant | 1419 | 72_84_87 | Chlorakali Plant | 42-864 | Sulphur Dioxide Solution | 2.1 | 2.1 | 0.25 | 4.41 | 1.1025 | 177.0182 |  |  |  | 7.163 | 2.23 | 15.9735 | 102.5763 | 1.57 | 161.0447
43 | Chloralkali Plant | 1419 | 72_84_87 | Chlorakali Plant | 42-869 | Dechlorination Gas Cooler | 0.35 | 0.39 | 0.5 | 0.1365 | 0.06825 | 19.4394 | [6 empty] | 7.56 | 1.57 | 11.8692 |  |  |  | 12.21 | 0.62 | 7.5702
44 | Chloralkali Plant | 1427 | 72_84_87 | Chlorakali Plant | 42-871 | Cell Caustic Cooler | 0.5 | 0.66 | 0.4 | 0.33 | 0.132 | 19.4394 | [6 empty] | 7.56 | 1.57 | 11.8692 |  |  |  | 12.21 | 0.62 | 7.5702
45 | Chloralkali Plant | 1427 | 72_84_87 | Chlorakali Plant | 42-873 | Intermediate Caustic Head Tank | 0.85 | 0.85 | 0.25 | 0.7225 | 0.18062 | 70.8073 |  |  |  | 2.8652 | 2.23 | 6.3894 | 41.0305 | 1.57 | 64.4179
46 | Chloralkali Plant | 1426 | 72_84_87 | Chlorakali Plant | 42-881 | Hypo Tower Pump#1 | 0.81 | 2.6 | 0.49 | 2.106 | 1.0319 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
47 | Chloralkali Plant | 1426 | 72_84_87 | Chlorakali Plant | 42-882 | Hypo Tower Pump#2 | 0.81 | 2.6 | 0.49 | 2.106 | 1.0319 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
48 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-720 | Brine Treatment tank | 2.6 | 2.6 | 0.32 | 6.76 | 2.1632 | 167.7015 |  |  |  | 6.786 | 2.23 | 15.1328 | 97.1775 | 1.57 | 152.5687
49 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-735 | Clarified Brine Tank | 1.75 | 1.75 | 0.44 | 3.0625 | 1.3475 | 112.36 |  |  |  | 4.5466 | 2.23 | 10.139 | 65.1089 | 1.57 | 102.221
50 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-736 | Clarified Brine Pump | 2.6 | 2.6 | 0.32 | 6.76 | 2.1632 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
51 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-732 | Coagulant Metering Pump | 0.35 | 0.63 | 0.7 | 0.2205 | 0.15435 | 27.8518 | [6 empty] | 17.74 | 1.57 | 27.8518
52 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-725 | Brine Sludge Pump#1 | 0.4 | 0.38 | 0.32 | 0.152 | 0.04864 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
53 | Brine Treatment | 1402 | 71_91 | Salt Storage & Brine Treatment | 42-726 | Brine Sludge Pump#2 | 0.63 | 1.63 | 0.44 | 1.0269 | 0.45184 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
54 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-740 | Brine Filter#1 | 1.2 | 2.5 | 0.4 | 3 | 1.2 | 159.3164 |  |  |  | 6.4467 | 2.23 | 14.3761 | 92.3186 | 1.57 | 144.9402
55 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-741 | Brine Filter#2 | 1.4 | 3.6 | 0.3 | 5.04 | 1.512 | 225.534 |  |  |  | 7.5426 | 2.23 | 16.8201 | 132.9388 | 1.57 | 208.7139
56 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-752 | Filter Aid Pump | 0.4 | 0.5 | 0.45 | 0.2 | 0.09 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
57 | Brine Treatment | 1403 | 71_91 | Salt Storage & Brine Treatment | 42-757 | Filter Precoat Pump | 0.72 | 1.65 | 0.34 | 1.188 | 0.40392 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
58 | Brine Treatment | 1429 | 71_91 | Salt Storage & Brine Treatment | 42-764 | Sodium Carbonate Head Tank | 2.6 | 2.75 | 0.4 | 7.15 | 2.86 | 242.2354 |  |  |  | 9.802 | 2.23 | 21.8585 | 140.3675 | 1.57 | 220.377
59 | Salt Storage | 1401 | 71_91 | Salt Storage & Brine Treatment | 42-714 | Lixator Pump | 0.7 | 1.65 | 0.6 | 1.155 | 0.693 | 69.6295 | [6 empty] | 44.35 | 1.57 | 69.6295
60 | Salt Storage |  | 71_91 | Salt Storage & Brine Treatment |  | Storage Wall - Front | 3.01 | 84 | 0.3 | 252.84 | 75.852 | 3135.216 | [12 empty] | 5056.8 | 0.62 | 3135.216
61 | Salt Storage |  | 71_91 | Salt Storage & Brine Treatment |  | Storage Wall - Side | 3.01 | 12 | 0.3 | 36.12 | 10.836 | 438.9302 | [12 empty] | 707.952 | 0.62 | 438.9302
62 | Chiller Area | 1461 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-326 | Chilled Water Circulation Pump | 0.8 | 2.3 | 0.48 | 1.84 | 0.8832 | 97.4813 | [6 empty] | 62.09 | 1.57 | 97.4813
63 | Chiller Area | 1437 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-331 | Condensate Pump | 0.7 | 1.95 | 0.33 | 1.365 | 0.45045 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
64 | Chiller Area | 1460 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-316 | Chlorine Dioxide Supply Pump#1 | 1.87 | 1.87 | 0.34 | 3.4969 | 1.1889 | 210.5596 | [6 empty] | 134.1144 | 1.57 | 210.5596
65 | Chiller Area | 1460 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-317 | Chlorine Dioxide Supply Pump#2 | 1.87 | 1.87 | 0.34 | 3.4969 | 1.1889 | 210.5596 | [6 empty] | 134.1144 | 1.57 | 210.5596
66 | Sulphur Area | 1491 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-353 | Sulphur Pump#1 | 0.5 | 0.8 | 0.3 | 0.4 | 0.12 | 31.9739 | [6 empty] | 20.3655 | 1.57 | 31.9739
67 | Sulphur Area | 1491 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-354 | Sulphur Pump#2 | 0.5 | 0.8 | 0.3 | 0.4 | 0.12 | 31.9739 | [6 empty] | 20.3655 | 1.57 | 31.9739
68 | Sulphur Area | 1492 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-368 | SO2 Cooler Tower Recirculation Pump | 0.71 | 1.77 | 0.35 | 1.2567 | 0.43984 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
69 | Sulphur Area | 1492 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-373 | SO2 Solution Transfer Pump | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
70 | Sulphur Area | 1492 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-372 | SO2 Air Fan | 0.76 | 0.8 | 0.12 | 0.608 | 0.07296 | 31.9739 | [6 empty] | 20.3655 | 1.57 | 31.9739
71 | Sulphur Area | 1481 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-376 | SO2 Solution Supply Pump#1 | 0.71 | 1.9 | 0.57 | 1.349 | 0.76893 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
72 | Sulphur Area | 1481 | 78_83_85 | SO2 Plant, CLO2 Storage & Chiller Plant | 42-377 | SO2 Solution Supply Pump#2 | 0.71 | 1.9 | 0.57 | 1.349 | 0.76893 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
73 | Caustic Area | 1427 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-502 | Caustic Storage Tank Pump#1 | 0.7 | 1.9 | 0.57 | 1.33 | 0.7581 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
74 | Caustic Area | 1427 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-503 | Caustic Storage Tank Pump#2 | 0.7 | 1.9 | 0.57 | 1.33 | 0.7581 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
75 | Caustic Area | 1427 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-510 | Caustic Dissolving Tank | 4 | 4 | 0.18 | 16 | 2.88 | 378.2599 |  |  |  | 15.3062 | 2.23 | 34.1328 | 219.1892 | 1.57 | 344.1271
76 | Caustic Area | 1428 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-521 | Strong Sulphuric Acid Storage Pump | 0.75 | 1.8 | 0.45 | 1.35 | 0.6075 | 77.985 | [6 empty] | 49.672 | 1.57 | 77.985
77 | Caustic Area | 1428 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-530 | Diliute Sulphuric Acid Storage Tank | 4.3 | 4.3 | 0.3 | 18.49 | 5.547 | 378.2599 |  |  |  | 15.3062 | 2.23 | 34.1328 | 219.1892 | 1.57 | 344.1271
78 | Caustic Area | 1428 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-535 | Dilute Sulphuric Acid Cooler | 0.6 | 0.8 | 0.4 | 0.48 | 0.192 | 31.9739 | [6 empty] | 20.3655 | 1.57 | 31.9739
79 | Caustic Area | 1458 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-540 | HCl Storage Tank#1 | 4.2 | 4.2 | 0.35 | 17.64 | 6.174 | 378.2599 |  |  |  | 15.3062 | 2.23 | 34.1328 | 219.1892 | 1.57 | 344.1271
80 | Caustic Area | 1458 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-541 | HCl Storage Tank#2 | 4.2 | 4.2 | 0.35 | 17.64 | 6.174 | 378.2599 |  |  |  | 15.3062 | 2.23 | 34.1328 | 219.1892 | 1.57 | 344.1271
81 | Caustic Area | 1458 | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-542 | HCl Supply Pump | 0.56 | 1.18 | 0.6 | 0.6608 | 0.39648 | 47.3213 | [6 empty] | 30.141 | 1.57 | 47.3213
82 | Air Separation Area |  | 77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-426 | Electric Heater | 1.2 | 1.2 | 0.19 | 1.44 | 0.2736 | 134.7581 | [6 empty] | 85.8332 | 1.57 | 134.7581
83 | Salt Storage |  | 71_91 | Salt Storage & Brine Treatment |  | Storage Floor | 12 | 84 | 0.15 | 1008 | 151.2 | 6249.6 | [12 empty] | 10080 | 0.62 | 6249.6
[12 empty] | 24785.2866 | 827.76 |  | 2466.7248 | 795.2482 |  | 1773.4034 | 6510.9382 |  | 10222.173 | 57.46 |  | 59.7584 | 16553.592 |  | 10263.227
[12 empty] | 24.7853 | Ton |  | 2.4667 | Ton |  | 1.7734 | Ton |  | 10.2222 | Ton |  | 0.059758 | Ton |  | 10.2632 | Ton

## Deleted Item
LIST - DELETED ITEM
CHEMICAL PLANT - KN PULP MILL
Area | Area Name | Equip. No. | Name
75 | CLO2 Plant | 42-215 | Dilution Air Fan
75 | CLO2 Plant | 42-229 | Strong Chlorate Chiller
75 | CLO2 Plant | 42-234 | Weak Chlorine Blower#1 Oil Pump
75 | CLO2 Plant | 42-237 | Generator Evaporator Condenser
75 | CLO2 Plant | 42-238 | Dilution Air Compressor
75 | CLO2 Plant | 42-239 | Weak Chlorine Blower#1 Oil Cooling Fan
75 | CLO2 Plant | 42-240 | MoDo-Chemetics Chlorine Dioxide Generator#2
75 | CLO2 Plant | 42-241 | Chlorine Dioxide Absorber#2
75 | CLO2 Plant | 42-242 | Chlorine Dioxide Transfer Pump#2
75 | CLO2 Plant | 42-243 | Weak Chlorine Blower#2
75 | CLO2 Plant | 42-244 | Weak Chlorine Blower #2 Oil Pump
75 | CLO2 Plant | 42-249 | Weak Chlorine Blower#2 Oil Cooling Fan
75 | CLO2 Plant | 42-263 | Chlorine Flame Arrestor#1
75 | CLO2 Plant | 42-264 | HCl Start-Up Fan#1
75 | CLO2 Plant | 42-266 | HCl Density Pot#1
75 | CLO2 Plant | 42-267 | HCl Pump Tank
75 | CLO2 Plant | 42-270 | HCl Synthesis Unit#2
75 | CLO2 Plant | 42-271 | Tail gas Scrubber#2
75 | CLO2 Plant | 42-273 | Chlorine Flame Arrestor#2
75 | CLO2 Plant | 42-274 | HCl Start-Up Fan#2
75 | CLO2 Plant | 42-275 | Hydrogen Flame Arrestor#2
75 | CLO2 Plant | 42-276 | HCl Density Pot#2
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-530 | Diliute Sulphuric Acid Storage Tank
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-531 | Dilute Sulphuric Acid Pump
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-533 | Dilute Sulphuric Acid Mixer
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-535 | Dilute Sulphuric Acid Cooler
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-560 | Magnesium Sulphate Bag Unloader
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-561 | Magnesium Sulphate Mix Tank
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-562 | Magnesium Sulphate Mix Tank Agitator
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-563 | Magnesium Sulphate Transfer Pump
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-565 | Magnesium Sulphate Solution Storage Tank
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-566 | Magnesium Sulphate solution Supply Pump#1
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-567 | Magnesium Sulphate solution Supply Pump#2
77_74_79_80_81_90 | Na2SO4_NaOH_HCL_H2SO4 | 42-569 | Magnesium Sulphate Crane
71_91 | Salt Storage & Brine Treatment | 42-702 | Sallt Unloading Hopper
71_91 | Salt Storage & Brine Treatment | 42-703 | Salt Unloading Belt Feeder
71_91 | Salt Storage & Brine Treatment | 42-704 | Salt Unloading Sump Pump
71_91 | Salt Storage & Brine Treatment | 42-706 | Salt Stacking Tripper
71_91 | Salt Storage & Brine Treatment | 42-708 | Salt Stacking Conveyor
71_91 | Salt Storage & Brine Treatment | 42-750 | Filter Aid Tank
71_91 | Salt Storage & Brine Treatment | 42-751 | Filter Aid Tank Agitator
71_91 | Salt Storage & Brine Treatment | 42-752 | Filter Aid Pump
71_91 | Salt Storage & Brine Treatment | 42-755 | Filter Precoat Tank
71_91 | Salt Storage & Brine Treatment | 42-756 | Filter Precoat Tank Agitator
71_91 | Salt Storage & Brine Treatment | 42-757 | Filter Precoat Pump
73 | CL Liquefection & CL Storage | 42-901 | Chlorine Drying Tower#1
73 | CL Liquefection & CL Storage | 42-902 | Chlorine Drying Tower#2
73 | CL Liquefection & CL Storage | 42-904 | Sulphuric Acid Circulation Pump#1
73 | CL Liquefection & CL Storage | 42-905 | Sulphuric Acid Circulation Pump#2
73 | CL Liquefection & CL Storage | 42-906 | Sulphuric Acid Circulation Pump#3
73 | CL Liquefection & CL Storage | 42-908 | Sulphuric Acid Cooler#1
73 | CL Liquefection & CL Storage | 42-909 | Sulphuric Acid Cooler#2
73 | CL Liquefection & CL Storage | 42-910 | Sulphuric Acid Dechlorination Tower
73 | CL Liquefection & CL Storage | 42-912 | Chlorine Compressor Package
73 | CL Liquefection & CL Storage | 42-912-02 | Chlorine Compressor Suction Pot
73 | CL Liquefection & CL Storage | 42-912-03 | Chlorine Compressor Acid Cooler
73 | CL Liquefection & CL Storage | 42-912-04 | Sulphuric Acid Separator
73 | CL Liquefection & CL Storage | 42-914 | Sulphuric Acid Mist Separator
73 | CL Liquefection & CL Storage | 42-916 | Chlorine Liquefier Package
73 | CL Liquefection & CL Storage | 42-916-02 | Chlorine Liquefier Exchanger
73 | CL Liquefection & CL Storage | 42-917 | Chlorine Liquefier Package Oil Pump
73 | CL Liquefection & CL Storage | 42-919 | Dechlorination Gas Ejector
73 | CL Liquefection & CL Storage | 42-921 | Chlorine Storage Tank#1
73 | CL Liquefection & CL Storage | 42-922 | Chlorine Storage Tank#2
73 | CL Liquefection & CL Storage | 42-923 | Chlorine Storage Tank#3
73 | CL Liquefection & CL Storage | 42-925 | Chlorine Storage Area Sump Pump
73 | CL Liquefection & CL Storage | 42-929 | Chlorine Vaporizer#1
73 | CL Liquefection & CL Storage | 42-930 | Chlorine Vapurizer#2
73 | CL Liquefection & CL Storage | 42-931 | Chlorine Superheater
73 | CL Liquefection & CL Storage | 42-940 | Chlorine Container Filling Scale
73 | CL Liquefection & CL Storage | 42-942 | Container Hoist
73 | CL Liquefection & CL Storage | 42-944 | Liquid Chlorine Catch Pot
73 | CL Liquefection & CL Storage | 42-951-01 ~ 08 | Chlorine Container#1 ~ #8